## Slide 1
Basic concepts of Pipe Proving and Meter Factors

## Slide 2: Objectives
Proving the need to Prove
Pipe Proving operation
Define Meter Factor

## Slide 3
Proving Accuracy
Paying Suppliers
Billing Buyers
Transportation Charges
Regulatory Requirements
There are many factors that require accuracy in the custody transfer process:

## Slide 4
Simplified Pipe Prover Flow
Flow Meter
Prover Flow
Section
Flow Computer
T
P
T
P
T
P
Prover Pulse
Counter
Transfer Line

## Slide 5
Simplified Pipe Prover Flow
Flow Meter
Prover Flow
Section
Flow Computer
T
P
T
P
T
P
Prover Pulse
Counter
Transfer Line
Prover Flow
Section

## Slide 6
Bi-directional Ball Prover
T
P
T
P
Prover Pulse
Counter
Flow Computer

## Slide 7
Meter Factor is the number used to correct the difference between the Flow Meter’s measurement and the measurement provided by the Prover.
(Meter Factor) x (Flow Meter Measurement) = Prover Measurement
Meter Factor

## Slide 8
Here are some concepts that directly relate to the ones in this presentation. If you have a deeper interest you can find these topics on the internet:
K-factor
Measurement Uncertainty
Repeatability
Piston Provers
Unidirectional Provers
Bidirectional Provers
Further Study